## Slide 1: Therac-25
N. Leveson, “Medical Devices: The Therac-25”
Appendices 1-4

## Slide 2: The Dangers of Software
Always prepare for worst case circumstances
Do not be single point of failure
Always keep error reports in logs

## Slide 3: Background
Radiation machine for tumor removal
Two previous iterations that used hardware fail-safes
Therac-25 used only software fail-safes

## Slide 4: Background
Therac-25 reused much software from previous iterations
The machine’s software was not analyzed in the Hazard Analysis
User input was simplified and required no double checking

## Slide 5: Worst Case
When developing mission or health critical software you must always prepare for the worst case. The Therac-25 was numerous times by the manufacturer, but only with cases that the machine expected. Radiation exposure and saturation were not taken into account, and because of this a malfunction occurred.

## Slide 6: Lack of Fail-safes
In the case of Therac-25, the fail-safes were sparse if present at all.
For Example: The machine relied solely on the software to move the hardware in the correct position and orientation to administer the therapy. The machine output a very high intensity beam of electrons that was required to be attenuated by hardware. There were no checks in place to verify the “flattener” was in place before delivering the beam of radiation to the patient.

## Slide 7: Error Reports
After a few people were injured by the Therac-25 an investigation was opened to determine what caused the problem. However, even though there was multiple warnings that there may be a problem with the software, none of the errors were logged. Because there weren’t any errors logged the investigation blamed a faulty switch and more people were injured.

## Slide 8: Conclusion
When designing mission critical software, it is necessary to take into account extreme scenarios. There should be a plan of action for every situation possible.
Documentation is essential. It should be easy enough for the average user to understand the inevitable malfunction while being thorough enough to adequately describe the problem.
Never become complacent in your work. Sacrificing safety for ease-of-use should not be tolerated. There should be proper risk-assessment for all aspects of software and hardware interaction.